## Sheet1
Equipment and major component list in Photonics Lab, UWEE |  | (Last modified on 12/14/2012)
Model | Description | Web Link
Microscopy
Motic AE31 | Trinocular inverted microscope with 4x, 10x and 20x objective lenses | http://www.tedpella.com/mscope_html/AE30-31.htm
Zeiss AXIO Imager D1m | Fluorescence microscope with 10X, 20x, 50x and 100x LWD objective lenses, AxioCam MRc | http://microscopy.zeiss.com/microscopy/en_de/products/light-microscopes.html
Zeiss FLUAR | 40X oil immersion lens | http://microscopy.zeiss.com/microscopy/en_us/products/microscope-accessories/objectives.html#inpagetabs-3
Metrology
Veeco (Wyco) NT-3300 | Surface profilometer with 5x and 50x objective lenses | http://www.veeco.com/
Probe station
Cascade Microtech M150 | Low-noise probe station with 4 DC probes, 1 lightwave probe, Leica S6D stereozoom microscope, Panasonic CCD camera | http://www.cascademicrotech.com/products/probe-systems/150mm-wafer
Signatone S-1160 | Probe station with microscope, LWD objective lenses (2X, 10X, 20X, 50X, 100X), 6 probes and SONY CCD camera | http://signatone.com/products/probestations/s1160_probe.asp
Light source
Bluesky Research FiberTEC (damaged 11/12) | 635 nm FC fiber pigtailed diode laser, 25 mW max output | http://www.blueskyresearch.com/c/b/posts/view/29
Kingbright AAD1-9090BRGC-01/3-S | 3W high power RGB SMD LED with heat sink | http://www.kingbrightusa.com/default.asp
Illumination Technologies 3900 | 150W tungsten halogen fiber optic lightsource with internal IR/color filter holder and RS-232/RS-485 interface | http://www.illuminationtech.com/ScientificR&D.html
Newport LQA405-40-P-00 | 405 nm laser with 40 mW max output, modulated up to 20 MHz | http://search.newport.com/?q=*&x2=sku&q2=LQA405-85E
Newport/Spectra Physics | Nd:YVO4 1064-nm laser, max output power 4W
Ocean Optics LS-1 | Tungsten halogen lamp broadband white light source, 360-2500 nm | http://www.oceanoptics.com/products/ls1.asp
Oplink FCLM405S20RD112 | 405 nm laser 20 mW FC/PC connectorized | http://oplink.com/pdf/FCLM405-S0083.pdf
OZ Optics OZ-2000-405 (facet damaged 2/13) | OZ-2000-405-3/125-S-40-3S-3A-1-30 405 nm laser with FC/PC connector, 8-10 mW | http://www.ozoptics.com/ALLNEW_PDF/DTS0081.pdf
PicoQuant Sepia LDH-P-C-405 | 405 nm short-pulse laser, 70 ps, up to 40 MHz repetition rate, SLM 808 diode laser driver, SOM-808B modulation driver | http://www.picoquant.com/products/ldh/ldhseries.htm
Science Company G-1577 (UVP UVL-56) | Handheld UV lamp, 365 nm, 6W (Qty: 2) | http://www.sciencecompany.com/Handheld-UV-Lamp-LW-6W-UVL-56-P16048.aspx
ThorLabs/Research Electro-Optics HRP350 | 633 nm HeNe laser with 35 mW output | http://www.thorlabs.us/thorProduct.cfm?partNumber=HRP350&pn=HRP350#5189
ThorLabs SIFC675 | 675 nm laser module with 2.5 mW output | http://www.thorlabs.us/thorProduct.cfm?partNumber=S1FC675
ThorLabs SLD1325 | 1325 nm superluminescent laser diode, 10 mW, 100 nm FWHM with ITC4001 benchtop laser diode/TEC controller 1A/96W | http://www.thorlabs.us/NewGroupPage9.cfm?ObjectGroup_ID=3753&pn=SLD1325#3756
Photodetector and optical power meter
Agilent 81618A | Single optical head interface module, connecting an optical head (8162x) to a lightwave system mainframe 8163A/B, 8164A/B or 8166A/B | http://www.home.agilent.com/en/pd-149588-pn-81618A/single-optical-head-interface-module?cc=US&lc=eng
Agilent 81624A | InGaAs optical sensor head | http://www.home.agilent.com/en/pd-81624A%3Aepsg%3Apro-pn-81624A/ingaas-optical-head-5mm-diameter?cc=US&lc=eng
Agilent 8163A | Lightwave multimeter with 81635A power sensor module (Dual sensor, InGaAs, 10dBm to -80dBm, 800-1650 nm, FC/PC) and 81619A dual optical head interface module | http://www.home.agilent.com/en/pd-86130-pn-8163A/lightwave-multimeter-system?cc=US&lc=eng
New Focus 2151 | Silicon femtowatt photodetector, 320-1050 nm, 1 mm diameter | http://search.newport.com/?q=*&x2=sku&q2=2151
Newport 818-IR | Ge photodetector, 780-1800 nm, BNC connector (Qty: 2) with 883-SL attenuator, 818-FA2 FC/PC fiber adapter | http://search.newport.com/?q=*&x2=sku&q2=818-IR
Newport 818 SL | Si photodetector, 400-1100 nm, BNC connector (Qty: 2) with 883-SL attenuator (Qty: 2) | http://search.newport.com/?q=*&x2=sku&q2=818-SL
Newport 818-UV/CM | UV low-power calibrated Si photodiode, 200-1100 nm, 8-Pin Din Cal Module | http://www.newport.com/818-Series-Low-Power-Calibrated-Photodiode-Sensors/827082/1033/info.aspx
Newport 1830-C | Optical power meter, with FC/PC fiber connector input (Qty: 2), with BNC input (Qty: 2) | http://search.newport.com/?q=*&x2=sku&q2=1830-R
ThorLabs PDA255 | InGaAs detector, 700-1800 nm, 50 MHz | http://thorlabs.com/thorProduct.cfm?partNumber=PDA255&pn=PDA255#4
ThorLabs PDA400 | InGaAs detector, 700-1800 nm, 10 MHz | http://thorlabs.com/search/thorsearch.cfm?search=PDA400
Spectrometer and spectrum analyzer
Agilent 86142B | High-precision optical spectrum analyzer, 600-1600 nm | http://www.home.agilent.com/en/pd-39735-pn-86142B/high-performance-optical-spectrum-analyzer?cc=US&lc=eng
Newport OSM-100UV/VIS | Optical spectrometer, 250-850 nm
Ocean Optics S1000 | Fiber optic spectrometer | http://www.oceanoptics.com/technical/s1000pinouts.pdf
Other photonic eqipment and major component
Agilent 8164A | Lightwave Measurement System with (1) 81689A compact tunable laser module (1525-1575 nm, 6dBm) w/ opt 072 PM fiber, angled contact. (2) 81635A optical power sensor module (Dual sensor, InGaAs, 10dBm to -80dBm, 800-1650 nm, FC/PC). (3) 81618A single optical head interface module. | http://www.home.agilent.com/agilent/product.jspx?nid=-536900333.536883124.00&lc=eng&cc=US
Cambridge Technology 6210H | Galvanometer scanner, MiniCT connector, ±20 mechanical degrees, ±40 optical degrees, slotted shaft | http://www.camtech.com/products/6200/6210.html
Cascade Microtech LWP-LEN-MM | Lightwave probe with lensed multi-mode fiber, 850-1550 nm, 0.5 dB IL, for probe stations | http://www.cmicro.com/products/probes/photonics/photonics
Dicon GB700 | 2x2 fiber optic switches
EO Space PM-DV5-40-PFA-PFA-130 | 40 Gb/s lithium niobate phase modulator 1300nm 4V Vp at 1GHz 5dB insertion loss | http://www.eospace.com/40G_modulator.htm
Ericsson EFC11-4 | Fiber cleaver with Micro-Electronics precision stripping tool kit MS-Fok-1 | http://www.3sae.com/products/ericsson-EFC-11-4-Fiber-Cleaver.php
Ericsson FSU 995 FA | Optical fiber fusion splicer with SONY monitor | http://www.splicerstore.com/ericsson/fsu-995.htm
FJW FIND-R-SCOPE 84499A | Infrared viewer 350-1350 nm | http://www.findrscope.com/SPD/infrared-viewer-ir-viewer-84499a-near-ir-1350nm--AB0000-1149883642.jsp
Hamamatsu LCOS-SLM X10468-07 | Liquid crystal on silicon phase-modulated SLM, 620-1100 nm, no dielectric coating, 80% light utilization efficiency at 1064 nm | http://jp.hamamatsu.com/products/other/1013/X10468/index_en.html
HP 8140A | Optical fiber loss test set with 81401A InGaAs PD for 820, 850, 1300, 1550 nm (Qty: 2) | http://www.testequipmentconnection.com/tecspecs/AGILENT-HP_8140A.PDF
HP 8169A | Polarization controller (1470-1570 nm) with opt 021 straight contact connector | http://www.home.agilent.com/agilent/product.jspx?cc=US&lc=eng&ckey=72344&nid=-35518.536883082.00&id=72344&pselect=SR.GENERAL
JDS SB series | 1x4 fiber optic switches
Newport LBP-3-USB | Laser beam profiler with protective window, 350-1310 nm | http://search.newport.com/?q=*&x2=sku&q2=LBP-3-USB
OFR OC-3-660-FC/PC3-Z | Optical circulator, MMF for port 3 | http://ofr.com/
OPREL OFP14M12131 (not working) | Erbium-doped fiber amplifier
Special Optics 8R-9015-400-700 | Polarization rotator | http://specialoptics.com/index.html
ThorLabs ITC4001 | Benchtop laser diode/TEC controller 1A/96W | http://thorlabs.com/thorProduct.cfm?partNumber=ITC4001
ThorLabs NDC-100C-4M | Round continuously variable metallic neutral density filter, 240-1200 nm, OD:0-4.0, 10 cm diameter, uncoated | http://thorlabs.com/thorProduct.cfm?partNumber=NDC-100C-4M
ThorLabs PAX5710VIS-T-TXP | Polarimeter with external sensor 400-700 nm, including PC | http://thorlabs.com/thorProduct.cfm?partNumber=PAX5710VIS-T
ThorLabs SC10 | Shutter controller with SH05 0.5" diameter beam shutter | http://thorlabs.com/thorProduct.cfm?partNumber=SC10, http://thorlabs.com/NewGroupPage9.cfm?ObjectGroup_ID=927&pn=SH05#4189
TI DLP Discovery 4100 | Digital mirror device (DMD) | http://www.ti.com/lsds/ti/analog/mems/mems.page
Electronics
Agilent 33250A | 80 MHz function/arbitrary waveform generator | http://www.home.agilent.com/agilent/product.jspx?cc=US&lc=eng&ckey=1000000803:epsg:pro&nid=-536902257.536881980.00&id=1000000803:epsg:pro&pselect=SR.GENERAL
Agilent 34401A | Digital multimeter, 6.5 digit, DC range 10V, AC range 1-750V, 10Hz-20kHz | http://www.home.agilent.com/agilent/product.jspx?id=1000001295:epsg:pro&pageMode=OV&pid=1000001295:epsg:pro&lc=eng&ct=PRODUCT&cc=US&pselect=SR.PM-Search%20Results.Overview
Agilent E3612A (missing) | Power supply, 30W, 120V max, 0.5A max | http://www.home.agilent.com/agilent/product.jspx?id=838247&pageMode=OV&pid=838247&lc=eng&ct=PRODUCT&cc=US&pselect=SR.PM-Search%20Results.Overview
Agilent E3631A | Triple output DC power supply, 0-6V, 5A/0+-25V, 1A (Qty: 2) | http://www.home.agilent.com/en/pd-836433-pn-E3631A/80w-triple-output-power-supply-6v-5a-25v-1a?cc=US&lc=eng
Agilent E3646A | Dual output DC power supply, 0-8V, 3A/0-20V, 1.5A | http://www.home.agilent.com/en/pd-836435-pn-E3646A/60w-dual-output-power-supply-two-8v-3a-or-20v-15a?cc=US&lc=eng
HP 239A | Oscillator | http://www.home.agilent.com/en/pd-239A%3Aepsg%3Apro-pn-239A/oscillator-low-distortion?cc=US&lc=eng
HP 6236B | Triple output DC power supply, 0-6V, 0-2.5A/0+-20V, 0-0.5A | http://www.home.agilent.com/en/pd-6236B%3Aepsg%3Apro-pn-6236B/dc-power-supply?cc=US&lc=eng
HP 6255A | Dual DC power supply, 0-40V, 0-1.5A | http://www.home.agilent.com/en/pd-1000001531%3Aepsg%3Apro-pn-6255A/power-supply?cc=US&lc=eng
Hyelec HY3005M-3 | DC power supply | http://hyelec.en.alibaba.com/product/324231000-50031735/LAB_POWER_SUPPLY.html
ILX Lightwave LDX-3207 | Peecision current source | http://www.ilxlightwave.com/navpgs/discontinued-ilx-products.html
ILX Lightwave LDX-3412 | Precision current source | http://www.ilxlightwave.com/propgs/laser-diode-driver-3412.html
Keithley 485 | Picoammeter
Keithley 2700 | Multimeter with data acquisition | http://www.keithley.com/products/data/datalogger?mn=2700
Keithley 6430 | Sub-femtoamp remote source meter | http://www.keithley.com/products/dcac/currentvoltage/lowcurrent/?mn=6430
Mastech HY3010E-3 | Variable triple DC power supply 30V 10A | http://www.mastechpowersupplies.com/switching-power-supply-hy3010e-3.html
PS-Scope PCSU1000 | Oscilloscope, 2 channel, 60 MHz, 1GS/s sampling rate, USB interface
Stanford Research Systems SR540 | Chopper with controller (QTY: 2, two different choppers) | http://www.thinksrs.com/products/SR540.htm
Stanford Research Systems SR810 | DSP lock-in amplifier | http://www.thinksrs.com/products/SR810830.htm
Tektronix 577/D1 | Storage curve tracer, 2 nA/div.
Tektronix 2213A | 60MHz oscilloscope
Tektronix CFG253 | Function generator, 3 MHz
Tektronix CFG280 | Function generator, 11 MHz | http://www.tek.com/datasheet/function-generators
Tektronix TDS320 | Oscilloscope, 2 channel, 100 MHz, 500MS/s sampling rate
Tektronix TDS2004B | Digital storage oscilloscope, 4 channel, 60 MHz, 1 GS/s sampling rate, 2.5K record length | http://www.tek.com/oscilloscope/tds1001b-manual/tds1000b-and-tds2000b-series-0
Tellium HV amplifier | 37X high-voltage output, up to 10KHz, 16 channels
Trek 2205 | High-voltage 40W amplifier, 500 V, DC-75kHz | http://www.trekinc.com/products/2205.asp
Vibration Research VR565 | Linear power amplifier | http://www.vibrationresearch.com/hardware/vr565.html
Xantrex XT 250-0.25 | Regulated DC power supply | http://xantrex.com/power-products/overview.aspx
Other
Barnstead International Lab-Line 3510 | Gravity convection lab oven
Corning PC-420D | Hot plate stirrer | http://www.sciencelabsupplies.com/Corning_Digital_Hot_Plate_-_Stirrer.html?gclid=CKyw_qS-qrMCFY9_Qgod2T8ABA
Fisher Scientific | Stirring hotplate | http://www.fishersci.com/ecomm/servlet/fsproductdetail?storeId=10652&productId=10515737&catalogId=29104&matchedCatNo=1152016SH¦¦1152049SH&fromSearch=1&searchKey=hotplate¦¦Stirring¦¦hot%20plates¦¦hot%20plate¦¦hotplate%20stirrers¦¦hotplates%20stirrer¦¦Hotplates¦¦hotplates%20stirrers¦¦stirring%20hotplate¦¦hotplate%20stirrer&highlightProductsItemsFlag=Y&endecaSearchQuery=%23store%3DScientific%23nav%3D0%23rpp%3D25%23offSet%3D0%23keyWord%3DStirring%2BHotplates&xrefPartType=From&savings=0.0&xrefEvent=1351660279066_0&searchType=PROD
Fisher Scientific | Mini vortexer
Harvard Apparatus Pump 11 Pico Plus | Syringe pump, 3.333 pl/min minimum flow rate | https://www.harvardapparatus.com/webapp/wcs/stores/servlet/product_11051_10001_64201_-1_HAI_ProductDetail___
J/B Industries DV-20 | Digital vacuum gauge | http://www.jbind.com/products/product-search-detail.aspx?SKU=DV-22N
Kemore freezer | Temperature down to -20⁰C
Oakton Acorn pH 6 | Portable pH meter, pH range 0.00 to 14.00 pH, resolution 0.01 pH, relative accuracy ±0.01pH | http://www.4oakton.com/proddetail.asp?parent=12&prod=13&seq=1&TotRec=16
Omega HH23 | Microprocessor thermometer with type J-K-T thermocouple | http://www.omega.com/ppt/pptsc.asp?ref=HH21_22_23
Unico PowerSpin LX | Centrifuge | http://www.unicosci.com/centri/powerspinLX.htm
Software
LabVIEW |  | http://www.ni.com/labview/
Lumerical FDTD Solutions |  | http://www.lumerical.com/tcad-products/fdtd/
OptiWave OptiFDTD V.8.0 |  | http://www.optiwave.com/products/fdtd_overview.html
Tanner L-Edit Basic V.10.20 |  | http://www.tannereda.com/products/mems
ZEMAX |  | http://www.radiantzemax.com/en/zemax/
Software licensed through COE |  | http://www.engr.washington.edu/mycoe/computing/software/index.html